## BOQ
S No | Location | Item Code | Description of Item | Unit | Qty | Purchase cost | Fright | Insurance
1 | noida sec-62 | SECFI0001 | 40/50MVA, 220/33kV, ONAN/ ONAF new transformer along with OLTC, remote tap changer panel, for this transformer and all accessories | Nos | 34 | 24 | 432 | 200
1.1 | noida sec-62 | SUCFI0005 | On line DGA monitoring for each transformer working on spectroscopy method. | Nos | 45 | 54 | 543 | 200
1.2 | noida sec-62 | SUCFO0002 | Nitrogen Injection Fire Protection System (NIFPS) for 40/50MVA Transformers | Nos | 23 | 65 | 235 | 200
2 | noida sec-62 | SUCSM0001 | 220 kV Lighting Arrestor | Nos | 12 | 765 | 464 | 200
2.1 | noida sec-62 | SUCFI0004 | 198 kV, Class III, 10 kA, lightning arrestor along with Surge monitor | Nos | 12 | 34 | 2343 | 200
3 | noida block-B | SUCFO0001 | 220 kV Isolator/ Disconnecting Switches | Nos | 34 | 235 | 54 | 200
3.1 | noida block-B | SUCFI0003 | Centre break tandom isolator (Double Break) 245kV, 2000A, 40kA for 3Sec. | Nos | 5 | 3542 | 23 | 200
3.2 | noida block-B | SUC220017 | Centre break isolator with one Earth switch (Double Break) 245kV, 2000A, 40kA for 3Sec. | Nos | 8 | 42 | 543 | 200
3.3 | noida block-B | SUC480003 | Centre break tandom isolator with one Earth switch (Double Break) 245kV, 2000A, 40kA for 3Sec. | Nos | 65 | 453 | 243 | 200
4 | noida block-B | SUC410004 | Centre break isolator with two Earth switch (Double Break) 245kV, 2000A, 40kA for 3Sec. | Nos | 78 | 645 | 776 | 200
4.1 | noida block-B | SUC220017 | SUBSTATION AUXILLIARIES220V DCDB as per TS with 20% extra feeder | Nos | 10 | 300 | 100 | 400
4.2 | noida sec-62 | SUCFI0005 | On line DGA monitoring for each transformer working on spectroscopy method. | Nos | 45 | 54 | 543 | 200
4.3 | noida sec-62 | SUCFO0002 | Nitrogen Injection Fire Protection System (NIFPS) for 40/50MVA Transformers | Nos | 23 | 65 | 235 | 200
4.4 | noida sec-62 | SUCFI0004 | 198 kV, Class III, 10 kA, lightning arrestor along with Surge monitor | Nos | 12 | 34 | 2343 | 200
4.5 | noida block-B | SUCFI0003 | Centre break tandom isolator (Double Break) 245kV, 2000A, 40kA for 3Sec. | Nos | 5 | 3542 | 23 | 200
4.6 | noida block-B | SUC220017 | Centre break isolator with one Earth switch (Double Break) 245kV, 2000A, 40kA for 3Sec. | Nos | 8 | 42 | 543 | 200
4.7 | noida block-B | SUC480003 | Centre break tandom isolator with one Earth switch (Double Break) 245kV, 2000A, 40kA for 3Sec. | Nos | 65 | 453 | 243 | 200
4.8 | noida sec-62 | SUCFI0005 | On line DGA monitoring for each transformer working on spectroscopy method. | Nos | 45 | 54 | 543 | 200
4.9 | noida sec-62 | SUCFO0002 | Nitrogen Injection Fire Protection System (NIFPS) for 40/50MVA Transformers | Nos | 23 | 65 | 235 | 200
4.10 | noida sec-62 | SUCFI0004 | 198 kV, Class III, 10 kA, lightning arrestor along with Surge monitor | Nos | 12 | 34 | 2343 | 200
4.11 | noida block-B | SUC480003 | Centre break tandom isolator with one Earth switch (Double Break) 245kV, 2000A, 40kA for 3Sec. | Nos | 65 | 453 | 243 | 200